## Slide 1: Regional Electric and Natural Gas Use Trends 2005, 2009, 2010
ACPAC
September 19, 2011

## Slide 2: Outline
Data Sources
Natural Gas
Electricity
Renewables

## Slide 3: Data Sources- Utilities
Columbia Gas
(Fairfax, Loudoun, Prince William Counties; Cities of Manassas and Manassas Park)
Constellation Energy
(Montgomery & Prince George’s County)
Dominion Virginia Power
(COG Virginia territory except Cities of Manassas & Manassas Park)
Manassas
(City of Manassas)
NOVEC
(Fairfax, Loudoun, Prince William Counties; Cities of Manassas & Manassas Park)
Pepco
(District of Columbia, Montgomery & Prince George’s Counties)
Potomac Edison
formerly Allegheny Power (Frederick & Montgomery Counties)
Washington Gas
(All COG territory except city of Manassas)
Notes: 8 regional utilities provided information- some provided only usage and accounts, others also provided information on renewable energy purchases, advanced metering, and pricing options
3 utilities provided natural gas information, 6 provided electric use information
Potomac Edison was formerly Allegheny Power

## Slide 4: Natural Gas Use
Chart: Natural Gas Use 2005, 2009, 2010 by state and sector in therms
| Maryland 2005 | Maryland 2009 | Maryland 2010 | Virginia 2005 | Virginia 2009 | Virginia 2010 | DC 2005 | DC 2009 | DC 2010
Residential | 332195911.7 | 329381641 | 332400694 | 357377841.481 | 326114626.755 | 345644156.527 | 108639985.8 | 101349377 | 101180616
Commercial | 168862407.7 | 176729573.7 | 192807701 | 147022370.735 | 136523875.327 | 138624444.282 | 71601119 | 69593313 | 69949711
Industrial | 72816352.5 | 76086251 | 34077779.253 | 35819747.638 | 0 | 86749988 | 87518849
Government | 0 | 0 | 0 | 6344928.213 | 6606669.433 | 6359123.407 | 0 | 0
Group Metered Apartments | 52394559.8 | 48613626.8 | 47058058 | 36365519.9 | 32516964.2 | 32306842 | 30095089.5 | 31197564 | 31574794
Interruptible | 103087278.3 | 59452251.9 | 108036236.5
Large growth in Loudoun County in all sectors except Group Metered Apartments,
Large growth in Fairfax City Residential, decrease in Commercial and Group Metered Apartments
Note: Interruptible is only a category in 2005, and Industrial is combined with Commercial in 2005 based on provided data.

## Slide 5: Electric Use
Chart: Electric Use 2005, 2009, 2010 by state and sector in kWh
| Maryland 2005 | Maryland 2009 | Maryland 2010 | Virginia 2005 | Virginia 2009 | Virginia 2010 | DC 2005 | DC 2009 | DC 2010
Residential | 8086812224 | 9092753229 | 8776270163 | 8841775924 | 9931263739 | 10878374778 | 1932578574 | 2275888699 | 1891782070
Commercial | 7767302763 | 8978384463 | 8790655167 | 10904935231 | 12719684336 | 13479835528 | 6411719754 | 5136462588 | 6529129128
Industrial | 3814035504 | 631851872 | 617135052 | 660479281 | 546875426 | 582786227 | 0 | 0 | 0
Government | 2622220063 | 2823671227 | 2981312983 | 660479281 | 3782527029 | 4012471997 | 3391392729 | 3044937345 | 3117711236
Large drop in Frederick County Industrial since 2005 due to closed aluminum plant
Large growth in Loudoun County in all sectors
NOVEC in Fairfax, Loudoun Counties saw government growth, likely due to efforts to correctly categorize accounts

## Slide 6: Grid Connected Systems
Notes: Met regional goal of 1,000 solar roofs in region by end of 2010.
Large growth in Fairfax, Loudoun, DC, Montgomery, Potomac Edison region

## Slide 7: Residential Electric and Natural Gas Use per Capita
Year | Use per Capita (kWhe) | % Change from previous year | Total Degree Days (TDD) | % Change from previous year
2005 | 9,880 | - | 5,996 | -
2009 | 9,710 | -2% | 5,807 | -3%
2010 | 9,720 | 0% | 6,152 | +6%
Residential Electric and Natural Gas Use per Capita represents residential electric use plus residential and group metered apartment natural gas use combined using a kWh equivalent factor for natural gas of 29.3.
Total Degree Days represents the sum of heating and cooling degree days. A greater number of degree days annually indicates higher heating and cooling needs.
2005 and 2009 populations from COG Planning Department 2005-2009 Economic Trends Report; 2010 population from COG tabulation of 2010 Census data
Notes: 2% drop from 2005
Monthly equivalent: 2005: 823 kWhe/month 2010: 810 kWhe/month
Population increase 2005 to 2010 6%

## Slide 8: Climate Change Report Goal
COG has a goal to reduce greenhouse gas emissions 10% from Business as Usual, or back to 2005 levels, by 2012
Since 2005, the region’s total electric and natural gas use has increased by 2%
Chart: Total Electric and Natural Gas Use
| 2005 | 2009 | 2010 | 2012
2005 baseline All | 103908756305.3 | 103908756305.3 | 103908756305.3 | 103908756305.3
Actual Use All | 103908756305.3 | 101515850537.3 | 105529262277.4 | 103908756305.3
2012 goal
Note: COG’s goal is to reduce the greenhouse gas inventory to 2005 levels, this chart shows reduction in electric and natural gas use needed if reductions from all contributions are equal.
Notes: Dip in 2009 due to reduced natural gas use. Electric Use has seen a steady rise since 2005.

## Slide 9: Climate Change Report Recommendation
Recommendation: Identify best practices to reduce local government energy use by 15 percent by 2012
Since 2005, the region’s government electric and natural gas use has increased by 10%
Chart: Government Electric and Natural Gas Use
| 2005 | 2009 | 2010 | 2012
2005 baseline Govt | 9337791261.4 | 9337791261.4 | 9337791261.4 | 9337791261.4
Actual Use Govt | 9337791261.4 | 9844711002.7 | 10297818519.9 | 7937122572.19
2012 goal

## Slide 10: Questions/Comments?
Jeannine Altavilla
202/962.3245
jaltavilla@mwcog.org