Street Light Survey #2 Results

11 responses received as of 7/19/10: Alexandria, Arlington County, Bowie, District of Columbia, City of Fairfax, Fairfax County, Falls Church, Loudoun County, Manassas, Montgomery County, and Prince George’s County

Types of Street Lights:

| Streetlights in Use | Number of Lights | % of Lights | Number of Jurisdictions |
| --- | --- | --- | --- |
| Incandescent | 6,888 | 2.5% | 3 |
| Mercury Vapor | 48,550 | 17.8% | 9 |
| High Pressure Sodium | 212,143 | 77.8% | 10 |
| Metal Halide Induction | 768 | 0.3% | 4 |
| LED | 1,120 | .4% | 4 |
| Other | 275 | 0.1% | 2 |
| Unknown | 2,951 | 1.1% | 1 |
| Total | 272,695 |  | 11 |

Mercury Vapor:

- Most encouraged technology to be replaced

- 9 jurisdictions currently use them; represent 17.8% of lights reported

High Pressure Sodium:

- All jurisdictions that reported the types of lights had some high pressure sodium fixtures

- 77.8% of the total reported fixtures in the region

LED:

- 4 jurisdictions currently have LEDs: Arlington, District of Columbia, Fairfax County, and Manassas

- 4 jurisdictions have plans to install LEDs

  - Arlington has plans to convert all streetlights to LEDs at a rate of at least 1,000 lights per year (16,580 total, with 1,066 current LEDs)

  - Alexandria plans to install 34 LEDs in the Braddock Metro Station area of the City.

  - DDOT (DC) plans to replace 1,000 light fixtures with LEDs by November 2011 using EECBG funds.

  - Manassas has a program to replace 114-120 HPS fixtures with LEDs to be completed with EECBG funding by December 2010.

Ownership of Lights:

|  | Number of Lights | % of Lights | Number of Jurisdictions |
| --- | --- | --- | --- |
| Own | 152,289 | 56% | 11 |
| Lease | 120,406 | 44% | 6 |

In the majority of jurisdictions there is a combination of ownership that makes it more difficult to implement system-wide improvements.

Annual KWH Consumption and Costs:

|  | # of Lights | Annual kWh | Annual operation cost | kWh per light | Cost per light |
| --- | --- | --- | --- | --- | --- |
| Alexandria | 9,639 | 7,457,169 | $1,519,796 | 773.6 | $157.67 |
| Arlington | 16,580 | 12,100,000 | $2,560,000 | 729.8 | $154.40 |
| Bowie | 5,860 | 2,772,960 | $298,400 | 493.5 | $53.11 |
| District of Columbia | 66,053 | 75,063,942 | $10,500,000 | 1,136.4 | $158.96 |
| Fairfax City | 2,954 | 2,220,000 | $510,000 | 752.3 | $172.82 |
| Fairfax County | 53,910 | 40,859,932 | $6,020,000 | 758.2 | $111.70 |
| Falls Church | 142 | - | $100,000 | - | - |
| Loudoun | 477 | - | flat charge | - | - |
| Manassas | 2,924 | 1,704,504 | $109,788 | 582.9 | $37.55 |
| Montgomery | 59,648 | 26,373,336 | $9,570,696 | 442.1 | $160.45 |
| Prince George’s | 54,508 | 33,062,725 | $5,666,175 | 606.6 | $103.95 |

|  | # of LED lights | Annual kWh | kWh per LED light | Savings over average light* |
| --- | --- | --- | --- | --- |
| Fairfax County | 27 | 8,190 | 303.3 | 60% |
| Manassas | 12 | 2,244 | 187 | 68% |

*Savings only represents kWh consumed. LED lights may not produce the same
		     lumens.

LED consumption saw an average 64% reduction in kWh consumed from total average in Fairfax County and Manassas. Arlington and the District of Columbia did not report separate electric usage for their current LED fixtures.