## Slide 1
Building Electrification Requirements for New Construction in San José
Ron Davis, LEED AP BD&C,
City of San Jose, Building Inspection Manager
Elena Olmedo
Climate Advisor to the City of San Jose, American Cities Climate Challenge

## Slide 2
Agenda
Background on Climate Smart San José
Building Electrification Efforts in San José
  Adopted Reach Code
  Natural Gas Infrastructure Prohibition
  Expanded Natural Gas Infrastructure Prohibition
Benefits of All-Electric Construction
Technical Assistance
Challenges
Questions & Discussion

## Slide 3
Why Building Electrification?
Climate Smart Goals by 2030
All-electric homes: 47% zero net carbon (ZNC)
ZNC commercial buildings: 70M sq. ft.
Benefits
Results in safer, healthier and more resilient buildings
Pathway for significant emissions reductions
Supported by the CA Energy Codes and Standards cost-effectiveness studies

## Slide 4
Reach Code (effective date: January 1, 2020)
Natural Gas Infrastructure Prohibition (effective date: January 1, 2020)
September 2019
October 2019
December 2020
Expanded Natural gas Infrastructure Prohibition (effective date: August 1, 2021)
Goal: 2030
47% zero net carbon homes; commercial buildings 70M sqft ZNC
Building Electrification Policies for New Construction
Building Electrification Timeline

## Slide 5
San José Reach Code
Effective: January 1, 2020
Covered Buildings:
All new residential and commercial buildings except industrial and manufacturing facilities
Requirements:
All-electric = meet T24, OR Increased energy efficiency above T24 Base Code and electric-readiness for any mixed fuel buildings
Electric vehicle (EV) charging infrastructure
Solar readiness and Electric readiness (for mixed fuel)
Some variation in requirements depending on building type

## Slide 6
Electric Vehicle Charging Infrastructure Requirements for New Construction

## Slide 7
Natural Gas Infrastructure Prohibition
Effective date: January 1, 2020
Prohibits natural gas infrastructure in new residential buildings (3 stories and less)
Covered Buildings (new construction only):
Single-family homes
Accessory dwelling units (detached)
Multifamily (3 stories and less)

## Slide 8
Expanded Natural Gas Infrastructure Prohibition
Covered Buildings:
Expands natural gas infrastructure prohibition to new residential, commercial, and industrial buildings.
Exceptions:
Hospitals
Limited Exemptions (must apply for exemption):
Cooking Equipment in Food Service Establishments or Commercial Kitchens
Process loads in Industrial & Manufacturing
Proposed Effective Date: August 1, 2021

## Slide 9
CA has committed to statewide carbon neutrality by 2045.
Electricity used by buildings in San Jose projected to be almost entirely carbon neutral in the next couple of years.
All electric buildings are generally less expensive to construct.
As building electrification accelerates, fewer and fewer gas customers will share burden of fixed system costs, increasing gas rates considerably.
San Jose has the highest share of EV sales in the U.S. so having enough EV charging infrastructure to meet projected demand is important.
Building Electrification Benefits

## Slide 10
Health, Safety, Equity and Resilience
Health: Eliminate burning and transporting of natural gas, which increases air pollution
Safety: Decrease our reliance on natural gas, which reduces associated fire and explosion risk
Equity: Limit exposure to harmful combustion by-products, which can cause respiratory issues, such as asthma, especially among vulnerable populations.
Resilience: Increased resiliency in buildings. Power for electricity is typically restored faster than for natural gas.

## Slide 11
Technical Assistance
Complete an interest form
One-hour no-cost technical consultation
Meet with Association for Energy Affordability & City staff
Follow-up consultation if needed
Issues addressed to date:
Title 24 compliance software challenges
Heat pump water heater design/optimization
Solar thermal v. solar PV

## Slide 12
Key Design Considerations
* Optimal sizing will likely have more storage than gas-based system
  Engineer should NOT use same sizing parameters as gas hot water system
  Engage with heat pump manufacturer to obtain sizing recommendations
Individual systems may be locatable inside a unit with no outside air (always confirm with manufacturer)
Larger or central systems will need access to outside/garage air
  Many can be ducted if space is tight

## Slide 13
Challenges
California Building Energy Code Compliance (CBECC) software modeling challenges
Educating building professionals about all-electric design (i.e., architects, mechanical engineers)
Meeting the Electric Vehicle Charging Infrastructure requirements in our Reach Code
    Electrical panel capacity

## Slide 14
California Building Energy Code Compliance (CBECC) software
Historically, Title 24 compliance has been a challenge for all-electric buildings
Q4 2020 – multiple compliance pathways for all-electric multifamily buildings, with more being integrated into software
City of San José aware of Title 24 compliance software limitations, and working with developers and design teams to overcome any perceived obstacles

## Slide 15: Questions & Discussion