Kambiz Agazi March 19, 2015

Structure: Categories  Goals/Strategies  Actions.  Categories and sub-categories organize the document.  Broad goals/strategies will be listed under each sub-category.  Specific actions will be listed under each goal. For example, Built Environment and Infrastructure is a category. Location is a subcategory.

- Built Environment & Infrastructure - category

  - Location - subcategory

    - Goal: Site new facilities to maximize energy and transportation efficiencies and renewable energy opportunities where practicable.

      - Action: Update comprehensive plan to include energy and transportation efficiencies as a factor in public facility siting decisions.

  - Design & Construction

    - Goal: Incorporate green building concepts in public facility design that will have energy conservation and efficiency benefits.

      - Action: Pursue LEED silver or higher or equivalent.

      - Action: Pursue at least half of the energy optimization credits possible within the LEED certification program.

      - Action: Design facilities to earn Energy Star, where applicable (not inclusive list)

      - Action: Orient public facilities to maximize passive and/or active solar design concepts.

    - Goal:  Maximize building energy efficiency.

      - Action: Install building energy management systems in all new facilities and capital improvement projects where feasible.

      - Action:  Install highly efficient mechanical systems where feasible.

      - Action:  Install highly efficient lighting systems where feasible.

      - Action: Design the building envelope for energy efficiency.

      - Action: Strategically plant shade trees to reduce facility energy load.

    - Goal: Maximize use of water-conserving systems and fixtures

      - Action: Incorporate natural landscaping to minimize irrigation and maintenance needs.

      - Action: Incorporate control measures (web based irrigation controls, weather station data, etc) to maximize water efficiency.

      - Action: Maximize water reuse through strategic rainwater collection systems. (Ask Davood for additional details).

      - Action: Integrate water reuse within systems wherever possible.

      - Action: Maximize low-flow systems (hands free and low- flow/flush fixtures).

  - Operation & Maintenance

    - Goal: Ensure facility performance is maintained at optimal levels.

      - Action: Monitor and analyze energy and water consumption

      - Action: Implement a continuous commissioning program forongoing performance improvements-)

    - Goal:  Use energy efficient fixtures and equipment that exceed the current minimum code requirements as they relate to water and energy efficiency (e.g. exceed the current ASHRE standard for energy)

    - Goal:  Maximize energy efficient upgrades.

      - Action: When replacing equipment/fixtures, exceed the current minimum code requirements as they relate to water and energy efficiency (e.g.  exceed the current ASHRE standard for energy)

  - Leased Space

    - Goal: Ensure spaces leased by the County are energy efficient.

      - Action: Include energy and transportation efficiencies as a factor in consideration of leased space.

  - Capital Renewal

  - Goal: Pursue energy and water efficient retrofits and upgrades.

- Action: Use architectural design concepts that pursue best practices for the design space that exceed current minimum code requirements and conform with industry best practices for energy and water efficiency.

- Action: Use building materials and components  that exceed current code requirements for energy and water efficiency.

2. Green Procurement

    - Green purchasing

    - Green leasing

    - Green contracts/vendor practices

    - Energy Star appliances or equivalent