8. What is the difference between IPMVP Volume I and ASHRAE Guideline 14P?
The IPMVP and ASHRAE 14 are complementary documents that provide guidance and instruction to those interested in quantifying the results from energy savings projects. 
IPMVP and ASHRAE differ by design in these key areas: 


[image: image1.png]


 IPMVP makes a provision for limited metering under Option A whereas ASHRAE requires metering for all options. 

[image: image2.png]


 IPMVP's discussions on balancing of Uncertainty and Cost (Volume 1 Chapter 4.11) are enhanced by ASHRAE's definition of ways to quantify uncertainty so that M&V design decisions can consider costs in light of the best available methods for quantifying uncertainty. 

Back to top 

9. What is the difference between IPMVP Volume I and FEMP M&V Guide?
The IPMVP and FEMP M&V Guide are complementary documents that provide guidance and instruction to those interested in quantifying the results from energy savings projects. 
IPMVP and FEMP M&V Guide differ by design in these key areas:

[image: image3.png]


 IPMVP is a framework of definitions and broad approaches whereas FEMP M&V Guide is an application document based on the 1997 version of IPMVP specifically prepared for .the federal sector in the US. FEMP M&V Guide also provides a more detailed guidance on the application of different M&V options for specific energy conservation measures.

[image: image4.png]


 IPMVP requires the use of limited metering under Option A whereas FEMP M&V Guide, for some ECMs, allows an M&V approach that does not require any metering.

