Back of the Envelope Cost Evaluation of Street Lights in Roundabouts vs. Intersections

DRAFT Prepared for Street Lights Working Group 
October 24, 2011

Input on costs of installing a new intersection as a signal versus a roundabout came from the Virginia Department of Transportation and the Maryland State Highway Administration. All numbers represent general estimates and vary based on the specific installation needs.

Estimated Installation Costs for Average New 250W HPS Intersection

|  | Maryland |  | Virginia |  |
| --- | --- | --- | --- | --- |
|  | Signal | Roundabout | Signal | Roundabout (medium) |
| Luminaires | 4 | 8 | 4 | 8 |
| Cost Per Pole | -- | $9,800 | $1,500 | $3,500-4,000 |
| Total Cost Installed for 4-legged intersection | $220,0001 | $78,400 | $6,0002 | $30,000 |

1Reflects total installation cost for intersection equipment and wiring.
2Reflects costs for combination poles at intersection.

Estimated Operation Costs for Average250W HPS Intersection

|  | Maryland |  | Virginia |  |
| --- | --- | --- | --- | --- |
|  | Signal | Roundabout | Signal | Roundabout (medium) |
| kWh/day | 1.2 kWh for lights + 0.5 kWh per signal | 2.4 | 1.25 kW for lights + Signal use | 2.5 |